## LIBRARY INDUSTRY CLASSIFICATION (hidden)
Industry Type (for Data Validation) | Industry Type (for Slicer) | Industry Classification
Palm Oil | Palm Oil | CPO&CPKO
Mining | Palm Oil | EFB
Oil & Gas | Palm Oil | Palm Oil Plantation
Non Food Industry-A | Mining | Coal Mining
F&B | Mining | Gold Mining
Agro Industry | Mining | Nickel Mining
Non Food Industry-B | Mining | Tin Mining
| Mining | Bauxite Mining
| Oil & Gas | Upstream
| Oil & Gas | Midstream
| Oil & Gas | Downstream
| Non Food Industry-A | Apparel & Footwear (Textile)
| Non Food Industry-A | Manufacturing/Heavy Industry
| Non Food Industry-A | Technology & Telecommunication
| Non Food Industry-A | Transportation & Logistics
| F&B | Processed Food
| F&B | Beverages
| F&B | Dairy Products
| F&B | Confectionary
| F&B | Meat Processing
| F&B | Seasoning
| Agro Industry | Fishery & Aquaculture Products
| Agro Industry | Food Crops (Cofee, Cocoa)
| Agro Industry | Tobacco
| Agro Industry | Sugar
| Agro Industry | Livestock & Poultry
| Non Food Industry-B | Tourism & Hospitality
| Non Food Industry-B | Construction & Real Estate
| Non Food Industry-B | Residential
This shape represents a table slicer. Table slicers are not supported in this version of Excel. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2007 or earlier, the slicer can't be used.

## DIP_Customer Information
sub_CUSTOMER INFORMATION
fh_END USER INFORMATION
fh_Company Information
f_Company Name
fd_Industry Classification | Palm Oil
fd_Sub Industry Specification | CPO&CPKO
fh_Location
f_Country
f_Province
f_City
f_Site Address
f_Correspondence Address
f_Postal Code
fh_Contact Person
fh_Contact | ch_Name | ch_Phone No/Email
fm_PIC
fm_Decision Maker
fm_Influencer
fm_#1 Engineering Person
fm_#2 Enginering Person
fm_#3 Commercial Person
fm_#4 Commercial Person
fm_Company Correspondence (Admin)
f_Company Email
fh_MAIN CONTRACTOR INFORMATION
f_Project Owner
fh_Location
f_Country
f_Province
f_City
f_Site Address
f_Correspondence Address
f_Postal Code
fh_Contact Person | ch_Name | ch_Phone No/Email
fm_PIC
fm_Decision Maker
fm_Influencer
fm_#1 Engineering Person
fm_#2 Enginering Person
fm_#3 Commercial Person
fm_#4 Commercial Person
f_Company Email

## DIP_Project Information
sub_PROJECT INFORMATION |  |  |  | Argentina
fd_Project Status | NEW PROJECT | fh_Competitor Information |  | Australia
fd_Project Type | WWTP | fh_Competitor #1 |  | Austria
f_Project Name (Project Code) |  | f_CAPEX (USD) |  | Belgium
fd_Project Agreement Type | TURNKEY | f_OPEX (USD) |  | Brazil
fh_Environmental Constraint |  | f_Proposed Technology |  | Brunei
f_Max. Rainfall (mm/day) |  | fd_Country of Origin | Indonesia | Bulgaria
f_Altitude (m) |  | f_Competitor Grade |  | Cambodia
f_Ambient Temperature (°C) |  | fh_Competitor #2 |  | Canada
f_Ambient Moisture |  | f_CAPEX (USD) |  | China
fd_Seismic Hazard Zone | ZONE-4 | f_OPEX (USD) |  | Croatia
fd_Wind Speed Zone | LEVEL-5 | f_Proposed Technology |  | Czech Republic
fh_Engineering Constraint |  | fd_Country of Origin | Indonesia | Denmark
f_Available Space Area (m2) |  | f_Competitor Grade |  | Finland
f_Max. Building Depth (m) |  | fh_Competitor #3 |  | France
f_Max. Building Height (m) |  | f_CAPEX (USD) |  | Germany
fd_Construction Difficulty Level | NORMAL | f_OPEX (USD) |  | Greece
fd_Construction Grade | GRADE-A | f_Proposed Technology |  | Hungary
fh_Mechanical Constraint |  | fd_Country of Origin | Indonesia | India
fd_Noise Generation Constraint | GRADE-A | f_Competitor Grade |  | Indonesia
fd_Brand Level | GRADE-A | fh_Proposal Timeline |  | Ireland
fh_Safety Constraint |  | f_Preliminary Submission Deadline |  | Israel
fd_Client Safety Awareness | GRADE-A | f_Submission-1 Deadline |  | Italy
fd_Hazop Review | THIRD PARTY | f_Submission-2 Deadline |  | Japan
fh_OPEX Consideration |  | f_Awarding Schedule |  | Laos
fd_Client OPEX Awareness | GRADE-A | fh_Commercial Term |  | Malaysia
fh_OPEX Target |  | fd_Payment-1 Agreement | DED CHARGE | Mexico
f_Total OPEX (USD) |  | fd_Invoicing Term (days) | 30 days | Myanmar
f_Chemical (USD) |  | fd_Chemical Supply During Startup | CLIENT | Netherlands
f_Sludge Disposal (USD) |  | f_Client Estimated CAPEX (USD)
f_Electricity (USD) |  | f_Tender Bond (%)
f_Man Power (USD) |  | Performance Bond (%)
fh_Project Timeline |  | fh_Ownership Consideration
f_DED Timeline (week) |  | fd_Sludge | YES
f_Total Construction Timeline (week) |  | fd_Biogas | YES
f_Testing, Commissioning & Startup (Week) |  | fd_Salt from ZLD Process | NO
fh_Commissioning Timeline |  | fh_Engagement Activity
f_All Testing Timeline (week) |  | fd_Webinar Participation | YES
f_Startup Preparation (week) |  | fd_Expo Participation | NO
f_Acceptance Test Timeline (week) |  | fd_Gathering Participation | NO
fd_Baby Sitting Scheme | SUPERVISION ONLY | fd_Project References Visit | NO

## DIP_Technical Information
sub_TECHNICAL INFORMATION
fh_Inlet Constraint
fm_Max. TDS |  | ch_mg/L
fm_Operation Time Day |  | ch_h/day
fd_Process Phase | MESSOPHILIC
fd_Influent Substrate Type | RICH FOG&TSS
f_BOD/COD
fd_Debris in Feed? | NO
f_pH
fm_COD |  | ch_mg/L
fm_BOD |  | ch_mg/L
fm_TSS |  | ch_mg/L
fm_FOG |  | ch_mg/L
fm_Max. NH3 |  | ch_mg/L
fm_Max. Sulfur |  | ch_mg/L
fm_TKN |  | ch_mg/L
fm_TP |  | ch_mg/L
fm_Max. Color Index |  | ch_PtCo
fm_Max. Turbidity |  | ch_NTU
f_Max. SDI
fm_Flow |  | ch_CMD
fh_Effluent Constraint
fd_Effluent Consideration | DISCHARGE ONLY
f_pH
fm_COD |  | ch_mg/L
fm_BOD |  | ch_mg/L
fm_TSS |  | ch_mg/L
fm_FOG |  | ch_mg/L
fm_Max. NH3 |  | ch_mg/L
fm_Max. Sulfur |  | ch_mg/L
fm_TKN |  | ch_mg/L
fm_TP |  | ch_mg/L
fm_Max. Color Index |  | ch_PtCo
fm_Max. Turbidity |  | ch_NTU
f_Max. SDI
fh_Output Sludge Cake Constraint
fdfm_Expected Discharge Cake MC | 75%-85% | ch_w/w

## DIP_Data Input
fh_V. SPLIT OF RESPONSIBILITY
| default: WWTP, but user can change based on Project Type in DIP_Project Information | User's option
No. | fh_Work scope | ch_Client | ch_Contractor | ch_Remarks
fh_Authority Submission
| fm_Permits - Persetujuan Teknis (PERTEK) | ü
| fm_Expenses associated with the land acquisition (such as “Izin Pembebasan Lahan”) | ü
| fm_To obtain license to operate WWTP such as SLF (Sertifikat Laik Fungsi) | ü
| fm_License for secondary waste, where needed (such as “Upaya Pengelolaan Lingkungan Hidup (UKL) - Upaya Pemantauan Lingkungan Hidup (UPL)”) | ü
| fm_Others local Authority, where needed (such as “Izin Mendirikan Bangunan (IMB)) | ü
fh_Civil and Structural Works – WWTP System
| fm_Land and ground clearance, compaction, and development works | ü
| fm_Warehouse / Workshop, Site Office, Construction Power Supply, Project Site Location Security | ü
| fm_Water and electrical during the construction | ü
| fm_Piling work and RC foundation |  | ü
| fm_Loading and unloading all material to laydown area | ü
| fm_GA drawing, loading information, and installation requirement |  | ü
| fm_Design and drawing for WWTP concrete tank, pump/blower room, control room, chemical room |  | ü
| fm_Foundation for WWTP containerized tank, pump/blower room, control room, chemical room |  | ü
| fm_Maintenance platform and safety handrails for non-RC items |  | ü
fh_Note: RC – reinforced concrete
fh_Mechanical and Piping – WWTP System
| fm_Supply and installation of all mechanical material for WWTP system |  | ü
| fm_Design, testing and commissioning of WWTP system |  | ü
| fm_Piping and Pipe rack outside battery limit (OSBL) | ü
| fm_Inlet wastewater transfer piping to WWTP System | ü
| fm_Piping & final system for effluent WWTP to discharge | ü
| fm_Piping and Pipe rack inside battery limit (ISBL) |  | ü
| fm_Mechanical Installation & Erection Manpower & Labor |  | ü
| fm_All General Access (Roads, Sidewalks, Pathways & Entrances) | ü
| fm_Loading and unloading all material to laydown area | ü
fh_Electrical and Instrumentation
| fm_Electrical feeder to main power control panel (MCC) |  | ü
| fm_Electricity during the installation and commissioning of the system |  | ü
| fm_Purchase, installation, cable laying, testing |  | ü
| fm_Lightening protector | ü
| fm_Lighting on WWTP system |  | ü
| fm_Panel control including their outgoing cables, termination, complete installation, testing & commissioning |  | ü
| fm_Instrument supply, installation, calibration, loop check and commissioning |  | ü
fh_Monitoring and Control System
| fm_Local panel control system |  | ü
fh_Testing and Commissioning
| fm_Continuous 24-hours performance test of the waste water treatment system AT DESIGN CAPACITY with design influent quality and effluent discharged comply to contract | To assist as necessary | ü
| fm_Chemical during commissioning | ü
| fm_Commissioning spare parts |  | ü
| fm_Sufficient water and electricity during the commissioning | ü
| fm_Analyze the parameters (for WWTP system) as per regulation during the commissioning by the internal laboratory (the contractor) |  | ü
| fm_Analyze the parameters (for WWTP system) as per regulation at the end of the commissioning by the external laboratory | ü
fh_Others
| fm_HIRAC for the site installation works |  | ü
| fm_Classroom/ Virtual training for WWTP operation |  | ü
| fm_Operation manuals and as-built drawings |  | ü
| fm_Workmen Compensation |  | ü
fh_Documentation
| fm_Project schedule |  | ü
| fm_Piping & instruments diagram |  | ü
| fm_Single-line diagram |  | ü
| fm_Major equipment list |  | ü
| fm_All equipment list (tagged items) |  | ü
| fm_Detail engineering design drawing |  | ü
| fm_Material approval document |  | ü
| fm_Operations and maintenance manual (O&M) |  | ü | After commissioning
fh_Notes: Whichever scope not stated but required for the successful commissioning of WWTP system shall be discussed
fh_VI. TERMS AND CONDITIONS
fm_Terms | ch_Cost And Freight (CFR) Simalungun, Sumatera Utara, Indonesia |  | Simalungun, Sumatera Utara, Indonesia (City, Province, Country in DIP_Customer Information)
fm_Payments | ch_- 30% Down Payment payable immediately after signing of the Order Confirmation against presentation of Commercial Invoice |  | Default Percentage, but user can change
| ch_- 50% Balance Payment immediately after material on site or by progressive (75% Material on site & 25% Installation) |  | Default Percentage, but user can change
| ch_- 15% Balance Payment immediately after commissioning |  | Default Percentage, but user can change
| ch_- 5% Balance Payment immediately after retention time or 90 days after commissioning |  | Default Percentage, but user can change
fm_Due Dates | ch_All invoices are due and payable at the specified payment date or fourteen (14) days after invoice date if no payment schedule has been specified in the Sales Oder Contract or in Seller’s confirmation of order. In case Buyer defaults in payment, Buyer shall be subject to a default late payment penalty of 1.0% of the outstanding amounts due to Seller for every calendar week or part thereof. |  | default: fourteen (14) days, but user can change based on Invoicing Term in DIP_Project Information
fm_Packing | ch_All items suitably packed for overland transport by trucking
fm_Delivery | ch_To be determined after confirmation by PO/SPK and down payment
fm_System Warranty | ch_1. The system will produce the effluent as refers to the Government’s permit, but the warranty has given with conditions below:
ch_- The system operated as the basic design and follows the limit of the inlet flow
ch_- The system operated as its SOP
ch_- The raw water temperature is within the operational value of the basic design
ch_- All equipment/system equipment works properly and is operated properly
ch_2. The warranty is valid if all the system installed by GRINVIRO.
ch_3. The default warranty is valid for 365 calendar days since the system has been commissioned or after the system has reach the parameters quality as standard parameters. If the installed product/equipment/material is defective during fabrication (manufacturing defect)/delivery/installation or during commissioning, GRINVIRO will immediately repair or replace the product/equipment/material.
ch_4. If there is damage to the system which is an operational negligence during the warranty period:
ch_- GRINVIRO will provide support in the form of free repair services
ch_- If there is a replacement of material/equipment parts, it will be entirely the burden of the buyer
ch_- In this case, all accommodation costs (transportation, food and housing costs) are borne by the buyer
ch_- When the warranty period has been over, the buyer will be charged for repairs and or replacement costs for equipment parts/materials (if any)
ch_5. In this case, the buyer is fully aware of the responsibility for the correct operation and according to the SOP and masters the basics of Waste Water Treatment system science for good system operation and maintenance
ch_6. GRINVIRO will provide the certificate of warranty
fm_Equipment Warranty | ch_1. Equipment outside the manufacture of Grinviro will be given a warranty following a supplier warranty.
ch_2. GRINVIRO will provide the certificate of warranty for equipment by principle.
fm_Termination for Convenience | ch_In case the Buyer seeks Termination for convenience of this Contract, such termination shall be effective upon Seller’s receipt of Buyer’s written notice of termination and payment of termination charges in accordance with the Termination Schedule. If Buyer terminates this Contract for convenience, title to the Equipment shall remain with the Seller. Seller may suspend performance upon receipt of Buyer’s termination notice, without incurring any liability to
| ch_Receipt of Termination Notice by Seller | ch_Total Termination Charges, Percent of Total Contract Price
| ch_1 – 30 days (after DP received) | ch_20%
| ch_31 – 60 days | ch_40%
| ch_61 – 90 days | ch_60%
| ch_91 days – Date of RTS | ch_80%
| ch_After Date of RTS | ch_100%
fm_Remarks | ch_The technical specifications may vary between equivalent suppliers and/ or technical details
fm_Exchange Rate | ch_This proposal is based on an exchange rate of IDR 16,500 to USD. If the rate exceeds this value, it will impact the project/equipment cost
fm_Validity | ch_1 month from date of quotation issuance
fm_Taxes | ch_Exclude PPN 11 % and other taxes

## DATA_ELI
NAMIGN CONVENTION
PID
f_
fh_
sub_