## ANAPAK DISTRIBUTION
Project : | HMS
Parameter | Value | Unit | K | Remark
Diameter | 12.6115 | m
Lateral Pipe - n | 16 |  |  | Lateral pipe quantity
Lateral Pipe Gap | 80
Lateral Pipe - Diameter | 100 | mm |  | Lateral pipe diameter
n (jumlah lubang) | 120 | orifice | 0% | Pengurangan orifice sebanyak K%
n-dia (orifice) | 18 | mm |  | 12 - 20 mm
DZE% | 15% |  |  | Death Zone Error Margin
Qi | 30 | CMh | 100% | input ke system - k% max Q
Qc | 90 | CMh | 300% | faktor K dari Qi
Qi' | 120 | CMh |  | For determining Qr to Ventury - See pump curve
Qr | 5.76 | cmh |  | return flow to ventury (see table vs Qi')
Qf | 125.76 | cmh |  | Q feed to ANAPAK
VL | 0.55626 | m/s |  | Vmin : 0.6 Vmax : 1.0
Vno | 1.1446 | m/s | 100% | K% of flow lateral flow to pairing pipe
Area Per Nozzle | 0.48147 | m2 |  | 0. 5 - 1 at loads up to 2 kg COD/m3. d
0. 5 - 2 at loads 2-4 kg COD/m3. d
>2 at loads > 4 kg COD/m3. d
Theta (sudut) | 180 | Deg |  | Dihitung dari jam 12 searah jarum jam
Tank Dia | 8 | m
Net Water Height | 10.5 | m
Volume Reactor | 527.52 | m3
Vup | 2.5032 | m/h |  | Max : 3 m/h
n (modified) | 120 | orifice
Flow during Very First Ramp-up
%Ramp | 15%
Qi | 4.5
Qr | 5.76
Qf | 125.76
Qc | 115.5

## ANAPAK
ANAPAK-UASB
Project | Wastewater Treatment Plant
Project Owner | PT SD Guthrie Sei Mangkei Refinery
SINGLE REACTOR CALCULATION
ANAPAK INPUT QUALITY |  |  |  | ANAPAK CALCULATION |  |  |  | Notes | ANAPAK OUTPUT QUALITY
pH | 6-9 |  | Remark | Tank Type (D) | = | 10 |  |  | pH | 7
COD | 5000 | mg/l |  | Tank Type (H) | = | 14 |  |  | COD | 750.3375 | mg/l
BOD | 2500 | mg/l |  | Diameter | = | 7.0064 | m |  | BOD | 412.6856 | mg/l
TSS | 1460 | mg/l |  | Tank Height | = | 15.95 | m |  | TSS | 146 | mg/l
FOG | 200 | mg/l |  | WL | = | 15.908 | m |  | FOG | 40 | mg/l
TKN* | 25 | mg/l |  | Tank Height Ratio | = | 2.2765 |  | 1,5-2 | TN* | 10 | mg/l
TP* | 5 | mg/l |  | Biogas Holding Rate | = | 10 | min |  | TP | 5 | mg/l
Reactor Number | 1 | unit |  |  | = | 1.6197 | CBM |  | Qe | 79.973 | CMD
Qtotal | 720 | CMD |  | Minimum Head Space | = | 0.042032 | m |  | COD Load | 400 | Kg.COD/day
Qn | 80 | CMD |  | Head Space | = | 80 | CM | Minimum Head Space : 80 cm | X-WAS | 5.3968 | Kg.DS/day
BOD/COD | 55% |  |  | Reactor Volume | = | 583.8057 | m3 |  | Qss | 0.035979 | CMD | 0.026984
|  |  |  | Flow Parameter |  |  |  |  | Methane Yield | 116.62 | NCBM/day
in DIP_Technical Information |  |  |  | Inlet Flow (Qi) | = | 80 | CMD |  | Biogas Yield | 233.24 | NCBM/day
[5 empty] | = | 3.3333 | CMH
|  |  |  | Operation Hours Per day | = | 24 | hours |  | Ket :
|  |  |  | Feed Flow (Qf) | = | 34 | CMH |  |  | Input manual
|  |  |  | Return Flow (Qr) | = | 30 | CMH |  |  | Menggunakan Konstanta
|  |  |  | Recyled Flow (Qc) | = | 0.66667 | CMh |  |  | Dropbox
[5 empty] | = | 20%
|  |  |  | Mixing Ratio (Qf/Qi) | = | 920% | v/v
|  |  |  | Upward Velocity (Vu) | = | 0.88231 | m/h | 0.9-2 (Range Vu), optimal di 1,2-1,5
|  |  |  | Biogas Upward Velocity (Vbg) | = | 0.25219 | m/h
|  |  |  | Total Upward Velocity (Vtu) | = | 1.1345 | m/h | 0.9-2 (Range Vu), optimal di 1,2-1,5
|  |  |  | Pressure Drop Lateral (PDl) | = | 1 | bar
|  |  |  | Pressure Drop Ventury (PDv) | = | 1.5 | bar
|  |  |  | Pressure Drop Upward (PDu) | = | 0 | bar
|  |  |  | Pressure Drop Piping (PDp) | = | 0.5 | bar | 0,2-0,5 bar
|  |  |  | Suction Head (estimation) | = | 0 | bar | Depended on suction height from lowest suction level
|  |  |  | Pressure Drop total (PDt) | = | 3 | bar
|  |  |  | ANAPAK Feed Pump Flow | = | 4
|  |  |  | Anapak Feed Pump Head | = | 3.6 | bar | 36 | mmAq
|  |  |  | Recommended Pump | = | EBARA | Running Power (kw) | 24.4444
Pipe Size
|  |  |  | Header Velocity Pipe Sizing | = | 1 | m/h
|  |  |  | Return Velocity Pipe Sizing | = | 0.8 | m/h
|  |  |  | Recyled Velocity Pipe Sizing | = | 0.8 | m/h
|  |  |  | Min. Header Pipe Size | = | 109.6866 | mm
|  |  |  | Min. Return Pipe Size | = | 115.1939 | mm
|  |  |  | Recyled Pipe Size | = | 17.1721 | mm
Load Parameter
|  |  |  | COD Load | = | 400 | Kg.COD/day
|  |  |  | OLR | = | 0.68516 | KG.COD/m3.day
|  |  |  | SLR | = | 0.02484 | Kg.COD/Kg.Sludge | max 0.4 (Range SLR)
|  |  |  | HRT | = | 7.2976 | days
Biomass
|  |  |  | Dispersed Height (Hds) | = | 13 | m
|  |  |  | Y-Biomass (sludge) | = | 2% | mg/L
|  |  |  | TSS BM | = | 150000 | mg/L
|  |  |  | COD/SS Ratio | = | 1.26 | w/w
|  |  |  | Sludge Blanket Height (Hb) | = | 2.908 | m
|  |  |  | Sludge Blanket Ratio (%Hb) | = | 18.28%
|  |  |  | TSS Dispersed Sludge (at Top blanket) | = | 200 | mg/L
|  |  |  | TSS Average (whole biomass) | = | 27583.3559 | mg/L
|  |  |  | Total Biomass Mass (xbm) | = | 16103.3213 | Kg.VSS
|  |  |  | Total Biomass Volume (vbm) For Seeding | = | 107.3555 | m3
|  |  |  | Total Active Biomass Mass VLSS (xVbm) | = | 11272.3249 | Kg.VSS | -> cek ya rumus sebelumnya salah
|  |  |  | xCOD Sludge (Sludge Production) | = | 6.8 | Kg.COD/day
|  |  |  | xss (Sludge production) | = | 5.3968 | Kg.SS/day
|  |  |  | Qss | = | 0.035979 | CMD
COD Removal
|  |  |  | COD Removal -1 | = | 0%
|  |  |  | COD Removal -2 | = | 85%
|  |  |  | COD removal | = | 85%
|  |  |  | xCOD Removed | = | 340 | Kg.COD/day
Biogas Production
|  |  |  | Methane Yield Constant (Ym) | = | 35%
|  |  |  | Methane Number | = | 0.5
|  |  |  | xCOD biogas | = | 333.2
|  |  |  | Q Methane (Production) | = | 116.62 | NCBM/day
|  |  |  | Q Biogas Production | = | 233.24 | NCBM/day
Output
|  |  |  | COD/VFA Ratio | = | 1.32 | g.VFA/g.COD
|  |  |  | BOD/COD Ratio | = | 50%
|  |  |  | FOG Removal | = | 80%
|  |  |  | Dewatering Output (Cake) | = | 26.9841 | Kg.Cake
|  |  |  | Qfiltrate | = | 0.0089947 | m3
|  |  |  | Qe (Effluent) | = | 79.964 | CMD
|  |  |  | Qe Final | = | 79.973 | CMD
|  |  |  | CODe (Effluent) | = | 750.3375 | mg/L
|  |  |  | TSSe (Effluent) | = | 146 | mg/L
|  |  |  | FOGe (effluent) | = | 40 | mg/L
Nutrient
|  |  |  | Total TKN inlet | = | 51.4299 | mg/L
|  |  |  | Total TP inlet | = | 13.5408 | mg/L
|  |  |  | N-Source Type | = | NH4Cl
|  |  |  | P-Source Type | = | CH4N2O
|  |  |  | TKN Dosage | = | 101 | mg/L
|  |  |  | TP Dosage | = | 27 | mg/L
|  |  |  | TNe (Effluent) | = | 10 | mg/L
|  |  |  | TPe (Effluent) | = | 5 | mg/L
Note :
1. N-Sources
|  |  |  | Massa Atom N | = | 14
|  |  |  | Massa Senyawa NH4Cl (AMMONIUM CHLORIDE 100%) | = | 53.5
|  |  |  | Massa Senyawa CH4N2O (UREA 46%) | = | 60
2. P - Sources
|  |  |  | Massa Atom P | = | 31
|  |  |  | Massa Senyawa H3PO4 (PHOSPHORIC ACID 85%) | = | 98
|  |  |  | Massa Senyawa P2O5 (Tripel Super Phospat 46%) | = | 142
Note on G102: Alexander: Methane Yield Constant. Berapa besar persen methane dari nilai COD yang diremove setelah produksi sludge
Note on G104: Alexander: Nilai COD dari total produksi biogas

## DATA_OUTPUT
ANAPAK OUTPUT QUALITY
pH | 7
COD | 750.3375 | mg/l
BOD | 412.6856 | mg/l
TSS | 146 | mg/l
FOG | 40 | mg/l
TN* | 10 | mg/l
TP | 5 | mg/l
Qe | 79.973 | CMD
COD Load | 400 | Kg.COD/day
X-WAS | 5.3968 | Kg.DS/day
Qss | 0.035979 | CMD
Methane Yield | 116.62 | NCBM/day
Biogas Yield | 233.24 | NCBM/day
Main System Design
Max. Feed Flowrate | 80 | CMD
Max. Organic Load Design | 400 | Kg.COD/day
Feed COD | 5000 | mg/l
Surplus Sludge Per Day | 5.3968 | Kg.DS/day
Biogas Production | 233.24 | NCBM/day
Methane Production | 116.62 | NCBM/day
BOM
Diameter | 7.0064 | m
Height | 15.95 | m

## Chart Dia Vs H (hidden)
SUPRAX Tank Capacity Chart
No.of Ring |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
Height.(m) |  | 2.15 | 3.3 | 4.45 | 5.6 | 6.75 | 7.9 | 9.05 | 10.2 | 11.35 | 12.5 | 13.65 | 14.8 | 15.95 | 17.1 | 18.25 | 19.4
No.Plate | Dia.(m) | 2: Gross volume （m³）
3 | 2.1656 | 7.9 | 12.1 | 16.4 | 20.6 | 24.9 | 29.1 | 33.3 | 37.6 | 41.8 | 46 | 50.3 | 54.5 | 58.7 | 63 | 67.2 | 71.4
4 | 2.8981 | 14.2 | 21.8 | 29.3 | 36.9 | 44.5 | 52.1 | 59.7 | 67.3 | 74.8 | 82.4 | 90 | 97.6 | 105.2 | 112.7 | 120.3 | 127.9
5 | 3.6306 | 22.2 | 34.1 | 46 | 57.9 | 69.8 | 81.7 | 93.6 | 105.5 | 117.4 | 129.3 | 141.2 | 153.1 | 165 | 176.9 | 188.8 | 200.7
6 | 4.3631 | 32.1 | 49.3 | 66.5 | 83.7 | 100.9 | 118.1 | 135.2 | 152.4 | 169.6 | 186.8 | 204 | 221.2 | 238.3 | 255.5 | 272.7 | 289.9
7 | 5.0955 | 43.8 | 67.3 | 90.7 | 114.1 | 137.6 | 161 | 184.5 | 207.9 | 231.3 | 254.8 | 278.2 | 301.7 | 325.1 | 348.5 | 372 | 395.4
8 | 5.828 | 57.3 | 88 | 118.7 | 149.3 | 180 | 210.6 | 241.3 | 272 | 302.6 | 333.3 | 364 | 394.6 | 425.3 | 455.9 | 486.6 | 517.3
9 | 6.5605 | 72.6 | 111.5 | 150.4 | 189.2 | 228.1 | 266.9 | 305.8 | 344.6 | 383.5 | 422.3 | 461.2 | 500 | 538.9 | 577.8 | 616.6 | 655.5
10 | 7.293 | 89.8 | 137.8 | 185.8 | 233.8 | 281.8 | 329.8 | 377.9 | 425.9 | 473.9 | 521.9 | 569.9 | 617.9 | 666 | 714 | 762 | 810
11 | 8.0255 | 108.7 | 166.8 | 225 | 283.1 | 341.3 | 399.4 | 457.6 | 515.7 | 573.9 | 632 | 690.2 | 748.3 | 806.4 | 864.6 | 922.7 | 980.9
12 | 8.758 | 129.5 | 198.7 | 267.9 | 337.2 | 406.4 | 475.7 | 544.9 | 614.2 | 683.4 | 752.6 | 821.9 | 891.1 | 960.4 | 1029.6 | 1098.9 | 1168.1
13 | 9.4904 | 152 | 233.3 | 314.6 | 395.9 | 477.3 | 558.6 | 639.9 | 721.2 | 802.5 | 883.8 | 965.1 | 1046.4 | 1127.7 | 1209 | 1290.3 | 1371.7
14 | 10.2229 | 176.4 | 270.7 | 365.1 | 459.4 | 553.8 | 648.1 | 742.5 | 836.8 | 931.1 | 1025.5 | 1119.8 | 1214.2 | 1308.5 | 1402.9 | 1497.2 | 1591.6
15 | 10.9554 | 202.6 | 310.9 | 419.3 | 527.6 | 636 | 744.3 | 852.7 | 961 | 1069.4 | 1177.7 | 1286.1 | 1394.4 | 1502.8 | 1611.1 | 1719.5 | 1827.8
16 | 11.6879 | 230.6 | 353.9 | 477.2 | 600.5 | 723.8 | 847.2 | 970.5 | 1093.8 | 1217.1 | 1340.5 | 1463.8 | 1587.1 | 1710.4 | 1833.7 | 1957.1 | 2080.4
17 | 12.4204 | 260.4 | 399.6 | 538.9 | 678.2 | 817.4 | 956.7 | 1095.9 | 1235.2 | 1374.5 | 1513.7 | 1653 | 1792.3 | 1931.5 | 2070.8 | 2210.1 | 2349.3
18 | 13.1529 | 292 | 448.2 | 604.3 | 760.5 | 916.7 | 1072.8 | 1229 | 1385.2 | 1541.4 | 1697.5 | 1853.7 | 2009.9 | 2166.1 | 2322.2 | 2478.4 | 2634.6
19 | 13.8854 | 325.4 | 499.5 | 673.5 | 847.6 | 1021.6 | 1195.7 | 1369.7 | 1543.8 | 1717.8 | 1891.9 | 2065.9 | 2240 | 2414 | 2588.1
20 | 14.6178 | 360.6 | 553.5 | 746.4 | 939.3 | 1132.2 | 1325.1 | 1518 | 1710.9 | 1903.8 | 2096.7 | 2289.6 | 2482.5 | 2675.4 | 2868.3
21 | 15.3503 | 397.7 | 610.4 | 823.1 | 1035.8 | 1248.6 | 1461.3 | 1674 | 1886.7 | 2099.4 | 2312.1 | 2524.9 | 2737.6 | 2950.3 | 3163
22 | 16.0828 | 436.5 | 670 | 903.6 | 1137.1 | 1370.6 | 1604.1 | 1837.6 | 2071.1 | 2304.6 | 2538.1 | 2771.6 | 3005.1 | 3238.6
23 | 16.8153 | 477.2 | 732.5 | 987.7 | 1243 | 1498.2 | 1753.5 | 2008.8 | 2264 | 2519.3 | 2774.5 | 3029.8 | 3285 | 3540.3
24 | 17.5478 | 519.7 | 797.7 | 1075.7 | 1353.6 | 1631.6 | 1909.6 | 2187.6 | 2465.5 | 2743.5 | 3021.5 | 3299.5 | 3577.5
25 | 18.2803 | 564 | 865.7 | 1167.3 | 1469 | 1770.7 | 2072.3 | 2374 | 2675.7 | 2977.4 | 3279 | 3580.7 | 3882.4
26 | 19.0127 | 610.1 | 936.4 | 1262.8 | 1589.1 | 1915.4 | 2241.7 | 2568.1 | 2894.4 | 3220.7 | 3547.1 | 3873.4 | 4199.7
27 | 19.7452 | 658 | 1010 | 1361.9 | 1713.9 | 2065.8 | 2417.8 | 2769.8 | 3121.7 | 3473.7 | 3825.6 | 4177.6
28 | 20.4777 | 707.7 | 1086.3 | 1464.8 | 1843.4 | 2222 | 2600.5 | 2979.1 | 3357.6 | 3736.2 | 4114.7 | 4493.3
29 | 21.2102 | 759.3 | 1165.4 | 1571.5 | 1977.6 | 2383.8 | 2789.9 | 3196 | 3602.1 | 4008.2 | 4414.4 | 4820.5
32 | 23.4076 | 924.7 | 1419.4 | 1914 | 2408.6 | 2903.3 | 3397.9 | 3892.5 | 4387.2 | 4881.8 | 5376.4
33 | 24.1401 | 2: 983.5; 3: 1509.6; 4: 2035.7; 5: 2561.8; 6: 3087.8; 7: 3613.9; 8: 4140; 9: 4666; 10: 5192.1
34 | 24.8726 | 2: 1044.1; 3: 1602.6; 4: 2161.1; 5: 2719.6; 6: 3278.1; 7: 3836.5; 8: 4395; 9: 4953.5; 10: 5512
35 | 25.6051 | 2: 1106.5; 3: 1698.4; 4: 2290.2; 5: 2882.1; 6: 3474; 7: 4065.8; 8: 4657.7; 9: 5249.6; 10: 5841.4
36 | 26.3376 | 2: 1170.7; 3: 1796.9; 4: 2423.2; 5: 3049.4; 6: 3675.6; 7: 4301.8; 8: 4928; 9: 5554.2
37 | 27.0701 | 2: 1236.8; 3: 1898.3; 4: 2559.8; 5: 3221.3; 6: 3882.9; 7: 4544.4; 8: 5205.9; 9: 5867.4
38 | 27.8025 | 2: 1304.6; 3: 2002.4; 4: 2700.2; 5: 3398; 6: 4095.8; 7: 4793.6; 8: 5491.5; 9: 6189.3
39 | 28.535 | 2: 1374.2; 3: 2109.3; 4: 2844.4; 5: 3579.4; 6: 4314.5; 7: 5049.6; 8: 5784.6
40 | 29.2675 | 2: 1445.7; 3: 2219; 4: 2992.3; 5: 3765.6; 6: 4538.8; 7: 5312.1; 8: 6085.4
41 | 30 | 2: 1519; 3: 2331.5; 4: 3143.9; 5: 3956.4; 6: 4768.9; 7: 5581.4; 8: 6393.8
42 | 30.7325 | 2: 1594.1; 3: 2446.7; 4: 3299.3; 5: 4152; 6: 5004.6; 7: 5857.2
43 | 31.465 | 2: 1670.9; 3: 2564.7; 4: 3458.5; 5: 4352.2; 6: 5246; 7: 6139.8
44 | 32.1975 | 2: 1749.6; 3: 2685.5; 4: 3621.4; 5: 4557.2; 6: 5493.1; 7: 6428.9
45 | 32.9299 | 2: 1830.2; 3: 2809.1; 4: 3788; 5: 4766.9; 6: 5745.9; 7: 6724.8
46 | 33.6624 | 2: 1912.5; 3: 2935.4; 4: 3958.4; 5: 4981.4; 6: 6004.3; 7: 7027.3
47 | 34.3949 | 2: 1996.6; 3: 3064.6; 4: 4132.5; 5: 5200.5; 6: 6268.5; 7: 7336.4
48 | 35.1274 | 2: 2082.6; 3: 3196.5; 4: 4310.4; 5: 5424.4; 6: 6538.3; 7: 7652.2
49 | 35.8599 | 2: 2170.3; 3: 3331.2; 4: 4492.1; 5: 5653; 6: 6813.8
50 | 36.5924 | 2: 2259.9; 3: 3468.7; 4: 4677.5; 5: 5886.2; 6: 7095
51 | 37.3248 | 2: 2351.3; 3: 3608.9; 4: 4866.6; 5: 6124.3; 6: 7381.9
52 | 38.0573 | 2444.5 | 3752 | 5059.5 | 6367 | 7674.5 | 8982 | 10289.5 | 11597 | 12904.5 | 14212 | 15519.5
53 | 38.7898 | 2539.5 | 3897.8 | 5256.1 | 6614.4 | 7972.8 | 9331.1 | 10689.4 | 12047.7 | 13406 | 14764.4 | 16122.7
54 | 39.5223 | 2636.3 | 4046.4 | 5456.5 | 6866.6 | 8276.7 | 9686.8 | 11096.9 | 12507 | 13917.1 | 15327.2 | 16737.3
55 | 40.2548 | 2734.9 | 4197.8 | 5660.6 | 7123.5 | 8586.3 | 10049.2 | 11512.1 | 12974.9 | 14437.8 | 15900.6 | 17363.5
56 | 40.9873 | 2835.3 | 4351.9 | 5868.5 | 7385.1 | 8901.7 | 10418.2 | 11934.8 | 13451.4 | 14968 | 16484.6 | 18001.1
57 | 41.7197 | 2937.6 | 4508.9 | 6080.1 | 7651.4 | 9222.7 | 10793.9 | 12365.2 | 13936.5 | 15507.8 | 17079 | 18650.3
58 | 42.4522 | 3041.6 | 4668.6 | 6295.5 | 7922.4 | 9549.4 | 11176.3 | 12803.2 | 14430.1 | 16057.1 | 17684 | 19310.9
59 | 43.1847 | 3147.5 | 4831.1 | 6514.6 | 8198.2 | 9881.7 | 11565.3 | 13248.9 | 14932.4 | 16616 | 18299.5 | 19983.1
60 | 43.9172 | 3255.2 | 4996.3 | 6737.5 | 8478.7 | 10219.8 | 11961 | 13702.1 | 15443.3 | 17184.4 | 18925.6 | 20666.7
61 | 44.6497 | 3364.7 | 5164.4 | 6964.1 | 8763.8 | 10563.6 | 12363.3 | 14163 | 15962.7 | 17762.4 | 19562.1 | 21361.9
62 | 45.3822 | 3476 | 5335.2 | 7194.5 | 9053.7 | 10913 | 12772.2 | 14631.5 | 16490.7 | 18350 | 20209.2 | 22068.5
63 | 46.1146 | 3589.1 | 5508.9 | 7428.6 | 9348.4 | 11268.1 | 13187.9 | 15107.6 | 17027.4 | 18947.1 | 20866.9 | 22786.6
64 | 46.8471 | 3704 | 5685.3 | 7666.5 | 9647.7 | 11628.9 | 13610.1 | 15591.4 | 17572.6 | 19553.8 | 21535 | 23516.3
65 | 47.5796 | 3820.8 | 5864.4 | 7908.1 | 9951.8 | 11995.4 | 14039.1 | 16082.7 | 18126.4 | 20170.1 | 22213.7 | 24257.4
66 | 48.3121 | 3939.3 | 6046.4 | 8153.5 | 10260.5 | 12367.6 | 14474.7 | 16581.7 | 18688.8 | 20795.9 | 22903 | 25010
67 | 49.0446 | 4059.7 | 6231.1 | 8402.6 | 10574 | 12745.5 | 14916.9 | 17088.4 | 19259.8 | 21431.3 | 23602.7 | 25774.2
Note:
1. The Volume present above are gross capacity.The effective capacity need to consider the freeboard and the concrete base slab.
2. What presented above is our standard capacity,other dimensions can be considered. 4.Our tank design comply with ANSI/AWWA D103-09.
3. Seismic zone : 3
7. The max. design wind speed : 30m/s.
If you want more details,please don’t hesitate to contact us.
Note on I15: Microsoft: yakult

## SPA Calculations (hidden)
State Point Summary Data |  |  |  |  | Flux Development
Clarifier Area | #REF! | ft2 | #REF! | m2 | X | Vs - 1 | G -1 | G'-1 | Vs - 2 | G - 2 | Vs - 3 | G - 3 | SOR1 | SUR1 | SOR2 | SUR2 | Delta 1 | Delta 2
SOR1 | #REF! | gpd/ft2 | #REF! | m/hr | g/l | m/hr | Kg/m2/hr |  | m/hr | Kg/m2/hr | m/hr | Kg/m2/hr | g/m2 hr | g/m2 hr | g/m2 hr | g/m2 hr
SUR1 | #REF! | gpd/ft2 | #REF! | m/hr | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
R/Q1 | #REF! | 216 |  |  | 0.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
RSS1 | #REF! | g/l |  |  | 0.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
GO1 | #REF! | g/m2 hr |  |  | 0.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
GT1 | #REF! | g/m2 hr |  |  | 0.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
SOR2 | #REF! | gpd/ft2 | #REF! | m/hr | 0.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
SUR2 | #REF! | gpd/ft2 | #REF! | m/hr | 0.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
R/Q2 | #REF! |  |  |  | 0.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
RSS2 | #REF! | g/l |  |  | 0.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
GO2 | #REF! | g/m2 hr |  |  | 0.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
GT2 | #REF! | g/m2 hr |  |  | 1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 1.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 1.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1.44 | 7.2576 |  |  |  | 1.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2.664 | 8.951 |  |  |  | 1.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3.52 | 8.7437 |  |  |  | 1.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2.88 | 8.9338 |  |  |  | 1.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4.084 | 8.3314 |  |  |  | 1.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3.716 | 8.0712 |  |  |  | 1.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
7.6 | 3.7848 |  |  |  | 1.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4.07 | 9.6459 |  |  |  | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3.93 | 8.253 |  |  |  | 2.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5.34 | 6.06 |  |  |  | 2.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
7.22 | 3.34 |  |  |  | 2.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
9.36 | 2.3 |  |  |  | 2.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 2.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 2.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 2.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 2.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 2.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 3.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 3.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 3.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 3.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 3.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 3.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 3.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 3.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 3.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 4.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 4.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 4.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 4.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 4.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 4.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 4.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 4.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 4.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 5.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 5.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 5.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 5.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 5.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 5.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 5.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 5.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 5.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 6.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 6.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 6.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 6.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 6.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 6.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 6.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 6.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 6.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 7.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 7.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 7.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 7.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 7.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 7.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 7.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 7.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 7.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 8.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 8.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 8.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 8.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 8.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 8.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 8.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 8.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 8.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 9.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 9.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 9.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 9.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 9.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 9.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 9.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 9.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 9.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 10.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 10.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 10.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 10.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 10.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 10.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 10.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 10.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 10.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 11 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 11.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 11.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 11.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 11.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 11.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 11.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 11.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 11.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 11.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 12 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 12.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 12.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 12.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 12.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 12.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 12.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 12.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 12.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 12.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 13 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 13.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 13.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 13.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 13.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 13.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 13.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 13.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 13.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 13.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 14 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 14.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 14.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 14.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 14.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 14.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 14.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 14.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 14.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 14.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 15.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 15.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 15.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 15.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 15.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 15.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 15.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 15.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 15.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 16 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 16.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 16.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 16.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 16.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 16.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 16.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 16.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 16.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 16.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 17 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 17.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 17.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 17.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 17.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 17.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 17.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 17.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 17.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 17.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 18 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 18.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 18.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 18.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 18.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 18.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 18.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 18.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 18.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 18.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 19 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 19.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 19.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 19.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 19.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 19.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 19.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 19.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 19.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 19.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 20 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 20.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 20.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 20.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 20.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 20.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 20.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 20.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 20.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 20.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 21 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 21.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 21.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 21.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 21.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 21.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 21.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 21.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 21.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 21.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 22 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 22.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 22.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 22.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 22.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 22.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 22.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 22.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 22.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 22.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 23 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 23.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 23.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 23.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 23.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 23.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 23.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 23.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 23.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 23.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 24 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 24.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 24.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 24.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 24.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 24.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 24.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 24.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 24.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 24.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 25 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 25.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 25.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 25.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 25.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 25.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 25.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 25.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 25.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 25.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 26 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 26.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 26.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 26.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 26.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 26.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 26.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 26.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 26.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 26.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 27 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 27.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 27.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 27.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 27.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 27.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 27.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 27.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 27.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 27.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 28 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 28.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 28.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 28.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 28.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 28.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 28.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 28.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 28.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 28.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 29 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 29.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 29.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 29.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 29.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 29.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 29.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 29.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 29.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 29.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | 30 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!