## DIP_Customer Information
sub_CUSTOMER INFORMATION
fh_END USER INFORMATION
fh_Company Information
f_Company Name
fd_Industry Classification
fd_Sub Industry Specification
fh_Location
fd_1Country
fd_1Province
fd_1City
f_1Site Address
f_1Correspondence Address
f_1Postal Code
fh_Contact Person
fh_Contact | ch_Name | ch_Phone No/Email
fm_1PIC
fm_1Decision Maker
fm_1Influencer
fm_1#1 Engineering Person
fm_1#2 Enginering Person
fm_1#3 Commercial Person
fm_1#4 Commercial Person
fm_1Company Correspondence (Admin)
f_1Company Email
fh_MAIN CONTRACTOR INFORMATION
f_Project Owner
fh_Location
fd_2Country
fd_2Province
fd_2City
f_2Site Address
f_2Correspondence Address
f_2Postal Code
fh_Contact Person | ch_Name | ch_Phone No/Email
fm_2PIC
fm_2Decision Maker
fm_2Influencer
fm_2#1 Engineering Person
fm_2#2 Enginering Person
fm_2#3 Commercial Person
fm_2#4 Commercial Person
f_2Company Email
fh_ENGAGEMENT ACTIVITY
fd_Webinar Participation (frequency)
fd_Expo Participation
fd_Gathering Participation
fd_Project References Visit

## DIP_Project Information
sub_PROJECT INFORMATION
fd_Project Status |  | fh_Competitor Information
fd_Project Type |  | fh_Competitor #1
f_Project Name (Project Code) |  | f_CAPEX (USD)
fd_Project Agreement Type |  | f_OPEX (USD)
fh_Environmental Constraint |  | f_Proposed Technology
f_Max. Rainfall (mm/day) |  | fd_Country of Origin
f_Altitude (m) |  | fd_Competitor Grade
f_Ambient Temperature (°C) |  | fh_Competitor #2
f_Ambient Moisture |  | f_CAPEX (USD)
fd_Seismic Hazard Zone |  | f_OPEX (USD)
fd_Wind Speed Zone |  | f_Proposed Technology
fh_Engineering Constraint |  | fd_Country of Origin
f_Available Space Area (m2) |  | fd_Competitor Grade
f_Max. Building Depth (m) |  | fh_Competitor #3
f_Max. Building Height (m) |  | f_CAPEX (USD)
fd_Construction Difficulty Level |  | f_OPEX (USD)
fd_Construction Grade |  | f_Proposed Technology
fh_Mechanical Constraint |  | fd_Country of Origin
fd_Noise Generation Constraint |  | fd_Competitor Grade
fd_Brand Level |  | fh_Commercial Term
fh_Safety Constraint |  | fd_Payment-1 Agreement
fd_Client Safety Awareness |  | fd_Invoicing Term (days)
fd_Hazop Review |  | fd_Chemical Supply During Startup
fh_Proposal Timeline |  | f_Client Estimated CAPEX (USD)
f_Preliminary Submission Deadline |  | f_Tender Bond (%)
f_Submission-1 Deadline |  | f_Performance Bond (%)
f_Submission-2 Deadline |  | fh_OPEX Consideration
f_Awarding Schedule |  | fd_Client OPEX Awareness
fh_Project Timeline |  | fh_OPEX Target
f_Completion of Period (months) |  | f_Total OPEX (USD)
f_DED Timeline (week) |  | f_Chemical (USD)
f_Total Construction Timeline (week) |  | f_Sludge Disposal (USD)
f_Testing, Commissioning & Startup (week) |  | f_Electricity (USD)
fh_Commissioning Timeline |  | f_Man Power (USD)
f_All Testing Timeline (week) |  | fh_Ownership Consideration
f_Startup Preparation (week) |  | fd_Sludge
f_Acceptance Test Timeline (week) |  | fd_Biogas
fd_Baby Sitting Scheme |  | fd_Salt from ZLD Process
fh_Grade and Brand Customer Preferences
fd_Grade Customer Selection
fd_Pump Brand Selection |  |  | GRUNDFOS | Vertical Multistage Centrifugal Pump | CR
fd_Pump Type |  |  | GRUNDFOS | Vertical Multistage Centrifugal Pump | CRN
fd_Pump Model |  |  | GRUNDFOS | End Suction Centrifugal Pump | NKG
fd_Dosing Pump Selection |  |  | EBARA | Vertical Multistage Centrifugal Pump | 3S
fd_Blower Brand Selection |  |  | EBARA | End Suction Centrifugal Pump | FSSC
fd_Blower Type |  |  | CNP | Vertical Multistage Centrifugal Pump | CDMF
fd_APP Brand Selection |  |  | CNP | Horizontal Multistage Centrifugal Pump | CHL
fd_Agitator Brand Selection |  |  | CNP | Submersible Pump | WQ
fd_Mixer Brand Selection |  |  | LEO | Vertical Multistage Centrifugal Pump | LVRS
fd_Chemical Tank Brand Selection |  |  | LEO | End Suction Centrifugal Pump | LEP
fd_MPS Brand Selection |  |  | LEO | Submersible Pump | SWE
fd_Aerator Brand Selection |  |  | LEO | Submersible Pump | XSP
fd_Screening System Brand Selection
fd_Motor Brand Selection
fd_Diffuser Brand Selection
fd_PLC Brand Selection
fd_HMI Brand Selection
fd_Instrument Brand Selection
fd_Cable Brand Selection
fd_Cable Signal Brand Selection
sub_DESIGN DATA & BASIS
fh_Inlet Constraint
f_Max. TDS |  | fu_mg/L
f_Operation Time Day |  | fu_h/day
fd_Process Phase
fd_Influent Substrate Type
f_BOD/COD | #DIV/0!
fd_Debris in Feed?
f_1pH
f_1COD |  | fu_mg/L
f_1BOD |  | fu_mg/L
f_1TSS |  | fu_mg/L
f_1FOG |  | fu_mg/L
f_1Max. NH3 |  | fu_mg/L
f_1Max. Sulfur |  | fu_mg/L
f_1TKN |  | fu_mg/L
f_1TP |  | fu_mg/L
f_1Max. Color Index |  | fu_PtCo
f_1Max. Turbidity |  | fu_NTU
f_1Max. SDI
f_Flow |  | fu_CMD
fh_Effluent Constraint
fd_Effluent Consideration
fd_Effluent Warranty
fh_Output Sludge Cake Constraint
fd_Expected Discharge Cake MC |  | fu_w/w
fh_Integrated Process
fd_Process 1
fd_Process 2
fd_Process 3
fd_Process 4
fd_Process 5
fd_Process 6
fd_Process 7
fd_Process 8
fd_Process 9

## Technical Information
sub_TECHNICAL INFORMATION
fh_Inlet Constraint
f_Max. TDS | fu_mg/L
f_Operation Time Day | fu_h/day
fd_Process Phase
fd_Influent Substrate Type
f_BOD/COD
fd_Debris in Feed?
f_1pH
f_1COD | fu_mg/L
f_1BOD | fu_mg/L
f_1TSS | fu_mg/L
f_1FOG | fu_mg/L
f_1Max. NH3 | fu_mg/L
f_1Max. Sulfur | fu_mg/L
f_1TKN | fu_mg/L
f_1TP | fu_mg/L
f_1Max. Color Index | fu_PtCo
f_1Max. Turbidity | fu_NTU
f_1Max. Conductivity | fu_µS/cm
f_1Max. SDI
f_Flow | fu_CMD
fh_Effluent Constraint
fd_Effluent Consideration
f_2pH
f_2COD | fu_mg/L
f_2BOD | fu_mg/L
f_2TSS | fu_mg/L
f_2FOG | fu_mg/L
f_2Max. NH3 | fu_mg/L
f_2Max. Sulfur | fu_mg/L
f_2TKN | fu_mg/L
f_2TP | fu_mg/L
f_2TDS | fu_mg/L
f_2Max. Color Index | fu_PtCo
f_2Max. Turbidity | fu_NTU
f_2Max. Conductivity | fu_µS/cm
f_2Max. SDI
fh_Output Sludge Cake Constraint
fd_Expected Discharge Cake MC | fu_w/w
fh_Integrated Process
fd_Process_1
fd_Process_2
fd_Process_3
fd_Process_4
fd_Process_5
fd_Process_6
fd_Process_7
fd_Process_8
fd_Process_9

## DIP_Data Input
sub_V. SPLIT OF RESPONSIBILITY
default: WWTP, but user can change based on Project Type in DIP_Project Information | User's option
fh_Work scope | ch_Client | ch_Contractor | ch_Remarks
ftg_Authority Submission
ft_Permits - Persetujuan Teknis (PERTEK) | ü
ft_Expenses associated with the land acquisition (such as “Izin Pembebasan Lahan”) | ü
ft_To obtain license to operate such as SLF (Sertifikat Laik Fungsi) | ü
ft_License for secondary waste, where needed (such as “Upaya Pengelolaan Lingkungan Hidup (UKL) - Upaya Pemantauan Lingkungan Hidup (UPL)”) | ü
ft_Others local Authority, where needed (such as “Izin Mendirikan Bangunan (IMB)) | ü
ftg_Civil and Structural Works – System
ft_Land and ground clearance, compaction, and development works | ü
ft_Warehouse / Workshop, Site Office, Construction Power Supply, Project Site Location Security | ü
ft_Water and electrical during the construction | ü
ft_Piling work and RC foundation |  | ü
ft_Loading and unloading all material to laydown area | ü
ft_GA drawing, loading information, and installation requirement |  | ü
ft_Design and drawing for concrete tank, pump/blower room, control room, chemical room |  | ü
ft_Foundation for containerized tank, pump/blower room, control room, chemical room |  | ü
ft_Maintenance platform and safety handrails for non-RC items |  | ü
ftn_Note: RC – reinforced concrete
ftg_Mechanical and Piping – System
ft_Supply and installation of all mechanical material for system |  | ü
ft_Design, testing and commissioning of system |  | ü
ft_Piping and Pipe rack outside battery limit (OSBL) | ü
ft_Inlet wastewater transfer piping to System | ü
ft_Piping & final system for effluent to discharge | ü
ft_Piping and Pipe rack inside battery limit (ISBL) |  | ü
ft_Mechanical Installation & Erection Manpower & Labor |  | ü
ft_All General Access (Roads, Sidewalks, Pathways & Entrances) | ü
ft_Loading and unloading all material to laydown area | ü
ftg_Electrical and Instrumentation
ft_Electrical feeder to main power control panel (MCC) |  | ü
ft_Electricity during the installation and commissioning of the system |  | ü
ft_Purchase, installation, cable laying, testing |  | ü
ft_Lightening protector | ü
ft_Lighting on WWTP system |  | ü
ft_Panel control including their outgoing cables, termination, complete installation, testing & commissioning |  | ü
ft_Instrument supply, installation, calibration, loop check and commissioning |  | ü
ftg_Monitoring and Control System
ft_Local panel control system |  | ü
ftg_Testing and Commissioning
ft_Continuous 24-hours performance test of the waste water treatment system AT DESIGN CAPACITY with design influent quality and effluent discharged comply to contract |  | ü | To assist as necessary
ft_Chemical during commissioning | ü
ft_Commissioning spare parts |  | ü
ft_Sufficient water and electricity during the commissioning | ü
ft_Analyze the parameters (for system) as per regulation during the commissioning by the internal laboratory (the contractor) |  | ü
ft_Analyze the parameters (for system) as per regulation at the end of the commissioning by the external laboratory | ü
ftg_Others
ft_HIRAC for the site installation works |  | ü
ft_Piping & instruments diagram |  | ü
ft_Operation manuals and as-built drawings |  | ü
ft_Workmen Compensation |  | ü
ftg_Documentation
ft_Project schedule |  | ü
ft_Piping & instruments diagram |  | ü
ft_Single-line diagram |  | ü
ft_Major equipment list |  | ü
ft_All equipment list (tagged items) |  | ü
ft_Detail engineering design drawing |  | ü
ft_Material approval document |  | ü
ft_Operations and maintenance manual (O&M) |  | ü | After commissioning
ftn_Notes: Whichever scope not stated but required for the successful commissioning of WWTP system shall be discussed
sub_VI. TERMS AND CONDITIONS
th_Terms | td_Cost And Freight (CFR) , , |  | Simalungun, Sumatera Utara, Indonesia (City, Province, Country in DIP_Customer Information)
thr_Payments | tdi_$P1$% Down Payment payable immediately after signing of the Order Confirmation against presentation of Commercial Invoice |  | Default Percentage: 30%, but user can change
| tdi_$P2$% Balance Payment immediately after material on site or by progressive (75% Material on site & 25% Installation) |  | Default Percentage: 50%, but user can change
| tdi_$P3$% Balance Payment immediately after commissioning |  | Default Percentage: 15%, but user can change
| tdi_$P4$% Balance Payment immediately after retention time or 90 days after commissioning |  | Default Percentage: 5%, but user can change
th_Due Dates | td_All invoices are due and payable at the specified payment date or [invalid payment term] after invoice date if no payment schedule has been specified in the Sales Oder Contract or in Seller's confirmation of order. In case Buyer defaults in payment, Buyer shall be subject to a default late payment penalty of 1.0% of the outstanding amounts due to Seller for every calendar week or part thereof. |  | default: fourteen (14) days, but user can change based on Invoicing Term in DIP_Project Information | Helper: | td_All invoices are due and payable at the specified payment date or | [invalid payment term] | after invoice date if no payment schedule has been specified in the Sales Oder Contract or in Seller's confirmation of order. In case Buyer defaults in payment, Buyer shall be subject to a default late payment penalty of 1.0% of the outstanding amounts due to Seller for every calendar week or part thereof.
th_Packing | td_All items suitably packed for overland transport by trucking
th_Delivery | td_To be determined after confirmation by PO/SPK and down payment
thr_System Warranty | td_1. The system will produce the effluent as refers to the Government’s permit, but the warranty has given with conditions below:
td_- The system operated as the basic design and follows the limit of the inlet flow
td_- The system operated as its SOP
td_- The raw water temperature is within the operational value of the basic design
td_- All equipment/system equipment works properly and is operated properly
td_2. The warranty is valid if all the system installed by GRINVIRO.
td_3. The default warranty is valid for 365 calendar days since the system has been commissioned or after the system has reach the parameters quality as standard parameters. If the installed product/equipment/material is defective during fabrication (manufacturing defect)/delivery/installation or during commissioning, GRINVIRO will immediately repair or replace the product/equipment/material.
td_4. If there is damage to the system which is an operational negligence during the warranty period:
td_- GRINVIRO will provide support in the form of free repair services
td_- If there is a replacement of material/equipment parts, it will be entirely the burden of the buyer
td_- In this case, all accommodation costs (transportation, food and housing costs) are borne by the buyer
td_- When the warranty period has been over, the buyer will be charged for repairs and or replacement costs for equipment parts/materials (if any)
td_5. In this case, the buyer is fully aware of the responsibility for the correct operation and according to the SOP and masters the basics of Waste Water Treatment system science for good system operation and maintenance
td_6. GRINVIRO will provide the certificate of warranty
thr_Equipment Warranty | td_1. Equipment outside the manufacture of Grinviro will be given a warranty following a supplier warranty.
td_2. GRINVIRO will provide the certificate of warranty for equipment by principle.
thr_Termination for Convenience | td_In case the Buyer seeks Termination for convenience of this Contract, such termination shall be effective upon Seller’s receipt of Buyer’s written notice of termination and payment of termination charges in accordance with the Termination Schedule. If Buyer terminates this Contract for convenience, title to the Equipment shall remain with the Seller. Seller may suspend performance upon receipt of Buyer’s termination notice, without incurring any liability to
| tdm_Receipt of Termination Notice by Seller | tdm_Total Termination Charges, Percent of Total Contract Price
| tdm_1 – 30 days (after DP received) | tdm_20%
| tdm_31 – 60 days | tdm_40%
| tdm_61 – 90 days | tdm_60%
| tdm_91 days – Date of RTS | tdm_80%
| tdm_After Date of RTS | tdm_100%
th_Remarks | td_The technical specifications may vary between equivalent suppliers and/ or technical details
th_exchange Rate | td_This proposal is based on an exchange rate of IDR 16,500 to USD. If the rate exceeds this value, it will impact the project/equipment cost
th_Validity | td_1 month from date of quotation issuance
th_Taxes | td_Exclude PPN 11 % and other taxes

## User Code
Code | Name | Position | Email | Mobile
001 | Rossesari Nailah Syahbarakat | Business Development Engineer | rosse@grinvirobiotekno.com | +62 823-1055-3041
002 | Fairuz Zytka Narindra | Business Development Engineer | fairuz.zytka@grinvirobiotekno.com | +62 852-1361-2287
003 | Elsa Rafelia Hartanti | Product Strategist Engineer | elsa.rh@grinvirobiotekno.com | +62 856-0752-6056
004 | Tia Amelia | Product Strategist Engineer | tia.amalia@grinvirobiotekno.com | +62 856-5504-9457
005
006
007
008
009

## No of Quotation
No | Company Name | Initial Company Name | Project Type | Document Type | Release Date | Month | Year | Quotation No.
001 | PT SD Guthrie International Sei Mangkei Refinery | SDGI | WWTP | CTP | 2024-12-09 | 9 | 2024 | 001/09/CTP/WWTP/SDGI/2024
002 | PT Perfetti Van Melle Indonesia | PVMI | WWTP | CTP | 2024-11-09 | 11 | 2024 | 001/11/CTP/WWTP/PVMI/2024
003 | PT Bumi Menara Internusa | BMI | WRP-BOO | CTP | 2024-10-09 | 10 | 2024 | 001/10/CTP/WRP-BOO/BMI/2024
004 | PT Mulia Boga Raya | MBR | WWTP | CTP | 2025-01-09 | 1 | 2025 | 001/01/CTP/WWTP/MBR/2025
005 | PT Leighton Contractors Indonesia | LCI | Cr6+ | CTP | 2025-02-09 | 2 | 2025 | 001/02/CTP/Cr6+/LCI/2025

## Effluent Warranty
Warranty_Type | Parameter_Name | Value | Unit | Row_Order
PERMENKES No. 2 Tahun 2023 (Parameter Wajib Air Minum) | pH | 6.5-8.5 |  | 1
PERMENKES No. 2 Tahun 2023 (Parameter Wajib Air Minum) | TDS | <300 | mg/L | 2
PERMENKES No. 2 Tahun 2023 (Parameter Wajib Air Minum) | Turbidity | <3 | NTU | 3
PERMENKES No. 2 Tahun 2023 (Parameter Wajib Air Minum) | Color | 10 | TCU | 4
PERMENKES No. 2 Tahun 2023 (Parameter Wajib Air Minum) | Nitrate | 20 | mg/L | 5
PERMENKES No. 2 Tahun 2023 (Parameter Wajib Air Minum) | Nitrite | 3 | mg/L | 6
PERMENKES No. 2 Tahun 2023 (Parameter Wajib Air Minum) | Cr6+ | 0.01 | mg/L | 7
PERMENKES No. 2 Tahun 2023 (Parameter Wajib Air Minum) | Fe | 0.2 | mg/L | 8
PERMENKES No. 2 Tahun 2023 (Parameter Wajib Air Minum) | Mn | 0.1 | mg/L | 9
PERMENKES No. 2 Tahun 2023 (Parameter Wajib Air Minum) | Sisa Cl | 0.2-0.5 | mg/L | 10
PERMENKES No. 2 Tahun 2023 (Parameter Wajib Air Minum) | As | 0.01 | mg/L | 11
PERMENKES No. 2 Tahun 2023 (Parameter Wajib Air Minum) | Cd | 0.003 | mg/L | 12
PERMENKES No. 2 Tahun 2023 (Parameter Wajib Air Minum) | Pb | 0.01 | mg/L | 13
PERMENKES No. 2 Tahun 2023 (Parameter Wajib Air Minum) | F | 1.5 | mg/L | 14
PERMENKES No. 2 Tahun 2023 (Parameter Wajib Air Minum) | Al | 0.2 | mg/L | 15
PERMENKES No. 2 Tahun 2023 (Parameter Wajib Air Minum) | E.Coli | 0 | CFU/100 mL | 16
PERMENKES No. 2 Tahun 2023 (Parameter Wajib Air Minum) | Total Coliform | 0 | CFU/100 mL | 17
PERMENKES No. 2 Tahun 2023 (Parameter Wajib Air Minum) | Odor | odorless |  | 18
PERMENKES No. 2 Tahun 2023 (Parameter Air untuk Keperluan Higiene dan Sanitasi) | pH | 6.5-8.5 |  | 1
PERMENKES No. 2 Tahun 2023 (Parameter Air untuk Keperluan Higiene dan Sanitasi) | TDS* | <300 | mg/L | 2
PERMENKES No. 2 Tahun 2023 (Parameter Air untuk Keperluan Higiene dan Sanitasi) | Turbidity | <3 | NTU | 3
PERMENKES No. 2 Tahun 2023 (Parameter Air untuk Keperluan Higiene dan Sanitasi) | Color | 10 | TCU | 4
PERMENKES No. 2 Tahun 2023 (Parameter Air untuk Keperluan Higiene dan Sanitasi) | Nitrate | 20 | mg/L | 5
PERMENKES No. 2 Tahun 2023 (Parameter Air untuk Keperluan Higiene dan Sanitasi) | Nitrite | 3 | mg/L | 6
PERMENKES No. 2 Tahun 2023 (Parameter Air untuk Keperluan Higiene dan Sanitasi) | Cr6+* | 0.01 | mg/L | 7
PERMENKES No. 2 Tahun 2023 (Parameter Air untuk Keperluan Higiene dan Sanitasi) | Fe* | 0.2 | mg/L | 8
PERMENKES No. 2 Tahun 2023 (Parameter Air untuk Keperluan Higiene dan Sanitasi) | Mn* | 0.1 | mg/L | 9
PERMENKES No. 2 Tahun 2023 (Parameter Air untuk Keperluan Higiene dan Sanitasi) | E.Coli | 0 | CFU/100 mL | 10
PERMENKES No. 2 Tahun 2023 (Parameter Air untuk Keperluan Higiene dan Sanitasi) | Total Coliform | 0 | CFU/100 mL | 11
PERMENKES No. 2 Tahun 2023 (Parameter Air untuk Keperluan Higiene dan Sanitasi) | Odor | odorless |  | 12
PERMENLHK RI No. P.68 Tahun 2016 (Baku Mutu Air Limbah Domestik) | pH | 6-9 |  | 1
PERMENLHK RI No. P.68 Tahun 2016 (Baku Mutu Air Limbah Domestik) | BOD | 30 | mg/L | 2
PERMENLHK RI No. P.68 Tahun 2016 (Baku Mutu Air Limbah Domestik) | COD | 100 | NTU | 3
PERMENLHK RI No. P.68 Tahun 2016 (Baku Mutu Air Limbah Domestik) | TSS | 30 | TCU | 4
PERMENLHK RI No. P.68 Tahun 2016 (Baku Mutu Air Limbah Domestik) | FOG | 5 | mg/L | 5
PERMENLHK RI No. P.68 Tahun 2016 (Baku Mutu Air Limbah Domestik) | Ammonia | 10 | mg/L | 6
PERMENLHK RI No. P.68 Tahun 2016 (Baku Mutu Air Limbah Domestik) | Total Coliform | 3000 | jumlah/100 mL | 7
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 1 dan Sejenisnya) | pH | 6-9 |  | 1
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 1 dan Sejenisnya) | TDS* | 1000 | mg/L | 2
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 1 dan Sejenisnya) | TSS | 40 | mg/L | 3
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 1 dan Sejenisnya) | Color | 15 | Pt-Co Unit | 4
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 1 dan Sejenisnya) | BOD | 2 | mg/L | 5
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 1 dan Sejenisnya) | COD | 10 | mg/L | 6
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 1 dan Sejenisnya) | DO | 6 | mg/L | 7
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 1 dan Sejenisnya) | Sulfate | 300 | mg/L | 8
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 1 dan Sejenisnya) | Chloride | 300 | mg/L | 9
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 1 dan Sejenisnya) | Nitrate | 10 | mg/L | 10
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 1 dan Sejenisnya) | Nitrite | 0.06 | mg/L | 11
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 1 dan Sejenisnya) | Ammonia | 0.1 | mg/L | 12
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 1 dan Sejenisnya) | Total Nitrogen | 15 | mg/L | 13
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 1 dan Sejenisnya) | Total Phospate | 0.2 | mg/L | 14
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 1 dan Sejenisnya) | Fluoride* | 1 | mg/L | 15
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 1 dan Sejenisnya) | Sulphure as H2S* | 0.002 | mg/L | 16
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 1 dan Sejenisnya) | Cyanide* | 0.02 | mg/L | 17
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 1 dan Sejenisnya) | Free Chlorine | 0.03 | mg/L | 18
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 1 dan Sejenisnya) | Oil and Grease | 1 | mg/L | 19
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 1 dan Sejenisnya) | Total Detergent | 0.2 | mg/L | 20
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 1 dan Sejenisnya) | Fecal Coliform | 100 | MPN/100 mL | 21
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 1 dan Sejenisnya) | Total Coliform | 1000 | MPN/100 mL | 22
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 2 dan Sejenisnya) | pH | 6-9 |  | 1
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 2 dan Sejenisnya) | TDS | 1000 | mg/L | 2
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 2 dan Sejenisnya) | TSS | 50 | mg/L | 3
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 2 dan Sejenisnya) | Color | 50 | Pt-Co Unit | 4
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 2 dan Sejenisnya) | BOD | 3 | mg/L | 5
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 2 dan Sejenisnya) | COD | 25 | mg/L | 6
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 2 dan Sejenisnya) | DO | 4 | mg/L | 7
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 2 dan Sejenisnya) | Sulfate | 300 | mg/L | 8
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 2 dan Sejenisnya) | Chloride | 300 | mg/L | 9
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 2 dan Sejenisnya) | Nitrate | 10 | mg/L | 10
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 2 dan Sejenisnya) | Nitrite | 0.06 | mg/L | 11
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 2 dan Sejenisnya) | Ammonia | 0.2 | mg/L | 12
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 2 dan Sejenisnya) | Total Nitrogen | 15 | mg/L | 13
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 2 dan Sejenisnya) | Total Phospate | 0.2 | mg/L | 14
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 2 dan Sejenisnya) | Fluoride* | 1.5 | mg/L | 15
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 2 dan Sejenisnya) | Sulphure as H2S* | 0.002 | mg/L | 16
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 2 dan Sejenisnya) | Cyanide* | 0.02 | mg/L | 17
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 2 dan Sejenisnya) | Free Chlorine | 0.03 | mg/L | 18
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 2 dan Sejenisnya) | Oil and Grease | 1 | mg/L | 19
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 2 dan Sejenisnya) | Total Detergent | 0.2 | mg/L | 20
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 2 dan Sejenisnya) | Fecal Coliform | 1000 | MPN/100 mL | 21
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 2 dan Sejenisnya) | Total Coliform | 5000 | MPN/100 mL | 22
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 3 dan Sejenisnya) | pH | 6-9 |  | 1
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 3 dan Sejenisnya) | TDS | 1000 | mg/L | 2
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 3 dan Sejenisnya) | TSS | 100 | mg/L | 3
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 3 dan Sejenisnya) | Color | 100 | Pt-Co Unit | 4
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 3 dan Sejenisnya) | BOD | 6 | mg/L | 5
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 3 dan Sejenisnya) | COD | 40 | mg/L | 6
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 3 dan Sejenisnya) | DO | 3 | mg/L | 7
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 3 dan Sejenisnya) | Sulfate | 300 | mg/L | 8
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 3 dan Sejenisnya) | Chloride | 300 | mg/L | 9
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 3 dan Sejenisnya) | Nitrate | 20 | mg/L | 10
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 3 dan Sejenisnya) | Nitrite | 0.06 | mg/L | 11
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 3 dan Sejenisnya) | Ammonia | 0.5 | mg/L | 12
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 3 dan Sejenisnya) | Total Nitrogen | 25 | mg/L | 13
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 3 dan Sejenisnya) | Total Phospate | 1 | mg/L | 14
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 3 dan Sejenisnya) | Fluoride* | 1.5 | mg/L | 15
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 3 dan Sejenisnya) | Sulphure as H2S* | 0.002 | mg/L | 16
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 3 dan Sejenisnya) | Cyanide* | 0.02 | mg/L | 17
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 3 dan Sejenisnya) | Free Chlorine | 0.03 | mg/L | 18
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 3 dan Sejenisnya) | Oil and Grease | 1 | mg/L | 19
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 3 dan Sejenisnya) | Total Detergent | 0.2 | mg/L | 20
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 3 dan Sejenisnya) | Fecal Coliform | 2000 | MPN/100 mL | 21
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 3 dan Sejenisnya) | Total Coliform | 10000 | MPN/100 mL | 22
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 4 dan Sejenisnya) | pH | 6-9 |  | 1
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 4 dan Sejenisnya) | TDS | 2000 | mg/L | 2
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 4 dan Sejenisnya) | TSS | 400 | mg/L | 3
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 4 dan Sejenisnya) | Color | - | Pt-Co Unit | 4
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 4 dan Sejenisnya) | BOD | 12 | mg/L | 5
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 4 dan Sejenisnya) | COD | 80 | mg/L | 6
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 4 dan Sejenisnya) | DO | 1 | mg/L | 7
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 4 dan Sejenisnya) | Sulfate | 400 | mg/L | 8
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 4 dan Sejenisnya) | Chloride | 600 | mg/L | 9
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 4 dan Sejenisnya) | Nitrate | 20 | mg/L | 10
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 4 dan Sejenisnya) | Nitrite | - | mg/L | 11
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 4 dan Sejenisnya) | Ammonia | - | mg/L | 12
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 4 dan Sejenisnya) | Total Nitrogen | - | mg/L | 13
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 4 dan Sejenisnya) | Total Phospate | - | mg/L | 14
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 4 dan Sejenisnya) | Fluoride* | - | mg/L | 15
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 4 dan Sejenisnya) | Sulphure as H2S* | - | mg/L | 16
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 4 dan Sejenisnya) | Cyanide* | - | mg/L | 17
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 4 dan Sejenisnya) | Free Chlorine | - | mg/L | 18
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 4 dan Sejenisnya) | Oil and Grease | 10 | mg/L | 19
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 4 dan Sejenisnya) | Total Detergent | - | mg/L | 20
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 4 dan Sejenisnya) | Fecal Coliform | 2000 | MPN/100 mL | 21
PP RI No. 22 Tahun 2021 (Baku Mutu Air Sungai Kelas 4 dan Sejenisnya) | Total Coliform | 10000 | MPN/100 mL | 22

## DATA_TEMP
User Code Selection
SBT_ANAPAK
Main System Design
Max. Feed Flowrate | CMD
Max. Organic Load Design | Kg.COD/day
Feed COD | mg/l
Surplus Sludge Per Day | Kg.Ds/day
Biogas Production | NCBM/day
Methane Production | NCBM/day
BOM
Diameter | m
Height | m
SBT_PUMP
Flowrate | Cmh
Pressure Head | m Aq
Power | Kw

## DATA_ELI
NAMIGN CONVENTION
PID
f_
fh_
sub_